## Calibration Curve
Calibration Curve
Ca++ | Standard Concentration (mg/L) | Intensity (count/sec) | Na+ | Standard Concentration (mg/L) | Intensity (count/sec) | As | Concentration (mg/L) | Intensity (count/sec)
Blank 1 | 0 | 0 | Blank 1 | 0 | 0 | Blank 1 | 0 | 0
STRD 1 | 50 | 10950457.3605 | STRD 1 | 50 | 7952581.6844 | STRD 1 | 0.005 | 59.6167
STRD 2 | 400 | 90162028.542 | STRD 2 | 400 | 65549391.898 | STRD 2 | 0.05 | 552.1666
STRD 3 | 800 | 183624812.3839 | STRD 3 | 800 | 134535183.796 | STRD 3 | 0.5 | 5746.9375
[6 empty] | STRD 4 | 1 | 11209.1842
Example Data
Sample | Derived Concentration (mg/L) | Intensity (count/sec) | Sample | Derived Concentration (mg/L) | Intensity (count/sec) | Sample | Derived Concentration (mg/L) | Intensity (count/sec)
A |  | 13417123.3618 | A |  | 81857092.4833 | A |  | 78.92
B |  | 47855479.4397 | B |  | 19747790.1029 | B |  | 469.87
C |  | 47913758.2071 | C |  | 27217692.5766 | C |  | 5695.3848
D |  | 255444940.3718 | D |  | 36383328.016 | D |  | 5837.7776

## ICP-OES
Analyte | K | K Error | Mg | Mg Error | Na | Na Error | Ca | Ca Error | Al | Al Error | As | As Error | Ba | Ba Error | Cr | Cr Error | Fe | Fe Error | Mn | Mn Error | Sr | Sr Error | Zn | Zn Error
MDL (mg/L) | 0.022 |  | 0.0064 |  | 0.022 |  | 0.0105 |  | 0.025 |  | 0.02 |  | 0.001 |  | 0.0015 |  | 0.002 |  | 0.0005 |  | 0.003 |  | 0.002
Units | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | % | mg/L | %
Class Sample 1 | 2.9632 | 1.638% | 47.8464 | 0.8539% | 127.8054 | 1.289% | 308.6925 | 1.153% | BDL | NA | BDL | NA | 0.047429 | 3.764% | BDL | NA | 0.017341 | 0.3215% | 0.023014 | 0.7503% | 3.4835 | 0.8785% | 0.010719 | 4.011%
Class Sample 2 | 2.8832 | 4.161% | 44.3492 | 3.569% | 123.4932 | 4.856% | 288.892 | 2.742% | BDL | NA | BDL | NA | 0.049909 | 0.6913% | BDL | NA | 0.020751 | 1.33% | 0.024135 | 0.4852% | 3.3205 | 2.198% | 0.040532 | 1.284%
CS3 | 2.6237 | 0.9975% | 37.8102 | 0.7942% | 108.5577 | 0.7928% | 245.8589 | 0.9376% | BDL | NA | BDL | NA | 0.054594 | 0.5374% | BDL | NA | 0.025397 | 0.338% | 0.024758 | 0.197% | 2.9926 | 0.4664% | 0.0098735 | 3.323%
CS4 | 2.5569 | 2.073% | 34.1188 | 2.918% | 103.4005 | 1.797% | 221.7224 | 1.109% | BDL | NA | BDL | NA | 0.057004 | 0.4953% | BDL | NA | 0.023969 | 0.6878% | 0.024316 | 0.05638% | 2.8553 | 1.48% | 0.0096276 | 1.681%
CS5 | 2.4264 | 0.2935% | 31.3777 | 0.4214% | 92.1688 | 0.7976% | 202.7257 | 0.1485% | BDL | NA | BDL | NA | 0.060246 | 0.7162% | BDL | NA | 0.02504 | 1.219% | 0.023677 | 0.1228% | 2.7036 | 0.1642% | 0.010766 | 3.565%
CS6 | 2.4756 | 1.482% | 30.4123 | 0.9181% | 89.8522 | 2.132% | 194.9459 | 0.733% | BDL | NA | BDL | NA | 0.060518 | 0.4189% | BDL | NA | 0.027575 | 0.8771% | 0.02396 | 0.1808% | 2.6063 | 0.6334% | 0.011257 | 3.539%
CS7 | 2.2725 | 2.05% | 28.4539 | 1.159% | 80.9317 | 1.76% | 181.6042 | 1.317% | BDL | NA | BDL | NA | 0.063151 | 2.099% | BDL | NA | 0.027406 | 0.673% | 0.023823 | 0.4061% | 2.518 | 1.189% | 0.011487 | 0.6022%
CS8 | 2.2553 | 0.4409% | 27.8467 | 0.4767% | 78.1499 | 1.588% | 180.7864 | 1.018% | BDL | NA | BDL | NA | 0.062336 | 0.7927% | BDL | NA | 0.02712 | 0.4148% | 0.025785 | 0.2445% | 2.5114 | 0.2255% | 0.041303 | 0.7758%
CS9 | 2.351 | 2.269% | 27.1111 | 1.16% | 77.2728 | 0.01098% | 174.8615 | 0.01053% | BDL | NA | BDL | NA | 0.061599 | 0.1702% | BDL | NA | 0.034721 | 0.5236% | 0.027844 | 0.07987% | 2.5153 | 0.01765% | 0.011076 | 3.508%
CS10 | 2.7542 | 0.8113% | 32.0827 | 0.7198% | 91.1843 | 1.386% | 229.084 | 1.176% | BDL | NA | BDL | NA | 0.059342 | 1.742% | BDL | NA | 0.033173 | 1.153% | 0.026353 | 0.6819% | 3.11 | 1.142% | 0.012024 | 3.478%
CS11 | 3.0464 | 1.238% | 39.1355 | 0.9634% | 104.8181 | 1.054% | 307.1751 | 1.071% | BDL | NA | BDL | NA | 0.05633 | 0.1906% | BDL | NA | 0.029386 | 0.1268% | 0.031951 | 0.1682% | 3.8937 | 0.3249% | 0.011514 | 2.35%
CS12 | 3.5552 | 0.6014% | 45.6089 | 0.8913% | 127.8631 | 0.8725% | 363.6864 | 0.1652% | BDL | NA | BDL | NA | 0.060752 | 0.4623% | BDL | NA | 0.040571 | 0.544% | 0.046821 | 0.3257% | 4.3365 | 2.635% | 0.012264 | 3.404%
Note: MDL = Method Detection Limit; BDL = Below Detection Limit; NA = Not Available
Analyte | K | K Error | Mg | Mg Error | Na | Na Error | Ca | Ca Error | Al | Al Error | As | As Error | Ba | Ba Error | Cr | Cr Error | Fe | Fe Error | Mn | Mn Error | Sr | Sr Error | Zn | Zn Error
MDL (mg/L) | 0.022 |  | 0.0064 |  | 0.022 |  | 0.0105 |  | 0.025 |  | 0.02 |  | 0.001 |  | 0.0015 |  | 0.002 |  | 0.0005 |  | 0.003 |  | 0.002
Units | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | %
Class Sample 1
Class Sample 2
CS3
CS4
CS5
CS6
CS7
CS8
CS9
CS10
CS11
CS12

## Summary
Analyte | K | Error | Mg | Error | Na | Error | Ca | Error | Al | Error | As | Error | Ba | Error | Cr | Error | Fe | Error | Mn | Error | Sr | Error | Zn | Error
Units | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | % | mmol/L | %
CS1
CS2
CS3
CS4
CS5
CS6
CS7
CS8
CS9
CS10
CS11
CS12

## FieldData
Site | Upstream Distance (m) | Temperature (C) | pH | SC (uS/cm) | Longitude | Latitude
CS1 | 0 | NA | NA | NA | -76.0666 | 43.0297
CS2 | 446 | 11.4 | 7.2 | NA | -76.0703 | 43.0308
CS3 | 973 | 11.6 | 7.3 | 1690 | -76.074 | 43.0338
CS4 | 1100 | 11.7 | 7.5 | 1820 | -76.0754 | 43.0344
CS5 | 1262 | 11.7 | 7.5 | 1690 | -76.0775 | 43.0357
CS6 | 1504 | 11.6 | 7.8 | 1670 | -76.0792 | 43.0364
CS7 | 1647 | 11.6 | 7.9 | 1730 | -76.0799 | 43.0375
CS8 | 2064 | 12.1 | 8 | 1690 | -76.0828 | 43.0399
CS9 | 3645 | NA | 8.1 | 1340 | -76.0927 | 43.0426
CS10 | 4208 | 12.6 | 8.3 | 1880 | -76.1013 | 43.0416
CS11 | 5034 | 13.1 | 8 | 2270 | -76.1114 | 43.0332
CS12 | 5564 | 13.1 | 7.8 | 2350 | -76.115 | 43.0312